## Slide 1: Experts in Cases Involving Built Facilities
Construction Defect and Premise Liability
February 2, 2014 - Winter 2014 MDLA
Presented by: Matthew D. Sloneker, Esq. & Stefan D. Helgeson, AIA, ASLA

## Slide 2: So You Need An Expert…
Construction Defect or Premises Liability?
Engineer or Architect?
Egghead or experienced contractor?
Forensic specialist or likeable actor?

## Slide 4: Construction Defect Claims
  Statutory Liability: § 327A New Home Warranties
    1-Year Warranty – defects caused by faulty workmanship or defective materials due to noncompliance with building standards
    2-Year Warranty - defects caused by faulty installation of plumbing, electrical, heating, and cooling systems due to noncompliance with building standards
    10-Year Warranty - major construction defects due to noncompliance with building standards
  Minn.Stat. §327A.03 Exclusions (selected)
    The liability of the vendor … does not extend to the following:
      (e) loss or damage from normal shrinkage caused by drying of the dwelling….within tolerances of building standards;
      (j) loss or damage from failure to maintain the dwelling … in good repair; or
      (k) loss or damage which the vendee or the owner, whenever feasible, has not taken timely action to minimize.

## Slide 5: Construction Defect Claims
Statutory Liability: § 327A Home Improvement Warranties
  1-Year Warranty - defects caused by faulty workmanship or defective materials due to noncompliance with building standards
  2-Year Warranty - defects caused by faulty installation of plumbing, electrical, heating, and cooling systems due to noncompliance with building standards
  10-Year Warranty - major construction defects due to noncompliance with building standards
  1-Year Warranty - defects caused by faulty workmanship or defective materials due to noncompliance with building standards (for home improvements not involving major structural changes or additions)

## Slide 6: Construction Defect Claims
Statutory liability: Minnesota Common Interest Ownership Act (MCIOA)
  § 515B.4-112 Express Warranties
    Affirmations of fact or promises
    Models and descriptions of physical characteristics
    Descriptions of quantity or extent of real estate
    Representations in plats or surveys

## Slide 7: Construction Defect Claims
Statutory liability: MCIOA
  § 515B.4-113 Implied Warranties
    Property suitable for ordinary uses
    Improvements free from defective materials and constructed in accordance with applicable law, including sound engineering and construction standards and in a workmanlike manner
    Residential use will not violate applicable law

## Slide 8: Construction Defect Claims
Breach of Contract
  Compliance with plans and specifications
  Defects in materials or workmanship
  Insurance procurement and indemnity obligations

## Slide 9: Construction Defect Claims
Common law obligations
  Duty to use reasonable care
  Implied covenant of good faith and fair dealing
  Promissory estoppel
  Respondeat Superior
  Owner/Developer implied obligations
    Disclose material information
    Provide accurate plans & specifications (Spearin Doctrine)
    Obtain permits, approvals, and easements
    Timely review submittals and requests
  General Contractor’s implied obligations
    Build per plans, specifications and codes
    Workmanlike construction: of good quality, free of defects, conformed to contract documents

## Slide 10: Premises Liability Claims
Duties owed by Property Owner
General duty to use reasonable care for the safety of all such persons invited upon the premises
Duty exists whether entrant is a licensee or an invitee
Duty is not absolute – landowners are not insurers of an entrant’s safety
Other factors in determining scope of duty owed:
    Duty is modified according to the expected use of the land
    Foreseeability or possibility of harm
    Ongoing duty to inspect and maintain property to ensure entrants are not exposed to unreasonable risk of harm
    Duty to repair or warn (If condition discoverable through reasonable efforts)
Entrant also owes duty of reasonable care in ensuring his own safety

## Slide 11: Whom are You Representing?
Construction Defect and Premise Liability
  Owner – HOA
  Developer
  Tenant
  General Contractor / Construction Manager
  Sub-contractor
  Supplier / Sub to Sub-contractor
  Architect / Engineer
  Sub-consultant to Architect / Engineer
  Other Parties

## Slide 12: Are you asserting affirmative claims?
Claims Against Professionals - Minn. Stat. § 544.42 Requirements
  Applies to attorneys, architects, certified public accountants, engineers, land surveyors, landscape architects, and others licensed under Minn. Stat. Sections 326 or 326A
  Define applicable standard of care
  Opine that defendant deviated from standard of care
  Causation of damages

## Slide 13: Expert’s Ability to Opine on a Standard of Care
  Who can testify as an expert - Minn. R. Evid. 702
    If scientific, technical, or other specialized knowledge will assist the trier of fact to understand the evidence or to determine a fact in issue, a witness qualifed as an expert by knowledge, skill, experience, training, or education, may testify thereto in the form of an opinion or otherwise. The opinion must have foundational reliability. In addition, if the opinion evidence involves novel scientific theory, the proponent must establish that the underlying scientific evidence is generally accepted in the relevant scientific community.

## Slide 15: Expert’s Ability to Opine on a Standard of Care
  Industry Standard of Care
    Construction defect claims
    Often against general and/or subcontractor
    Technical / industry background, education and experience
    Ability to opine on the represented parties’ duties – G.C., sub-contractor, suppliers, etc.
    Familiarization with standards and codes
    Often deals with discussion of “workmanlike construction”, defined as:
      Good quality, free from defects and in conformance with contract documents

## Slide 16: Expert’s Ability to Opine on a Standard of Care
  Professional Standard of Care
    Education and Licensure (Minnesota Board of AELSLAGID)
      Architects – building type and use specialization, types of experience as a project manager, project architect, specification writer, other
      Engineers – structural, civil, mechanical, electrical, other
      Land surveyors
      Landscape architects
      Geoscience
      Interior designers
  Professional Specialties – medical, safety, human factors, insurance, accounting, real-estate, etc.

## Slide 17: Expert’s Ability to Opine on a Standard of Care
Engineering Exams
  Agricultural
  Architectural
  Chemical
  Civil
    Construction
    Geotechnical
    Structural
    Transportation
    Water Resources and Environmental
  Control Systems
  Electrical and Computer
    Computer Engineering
    Electrical and Electronics
    Power
  Environmental
  Fire Protection
  Industrial
  Mechanical
    HVAC and Refrigeration
    Mechanical Systems and Materials
    Thermal and Fluids Systems
  Metallurgical and Materials
  Mining and Mineral Processing
  Naval Architecture and Marine
  Nuclear
  Petroleum
  Software
  Structural

## Slide 18: Expert’s Ability to Opine on a Standard of Care
  Professional Standard of Care
    The accepted industry standard of care for professional architecture design and administration services is defined by the American Institute of Architects (AIA) as:
      The Architect shall perform its services consistent with the professional skill and care ordinarily provided by architects practicing in the same or similar locality under the same or similar circumstances
      The Architect shall perform its services as expeditiously as is consistent with such professional skill and care and the orderly progress of the Project

## Slide 19: Expert’s Ability to Opine on a Standard of Care
  Professional Standard of Care
    “One who undertakes to render professional services is under a duty…to exercise such care, skill, and diligence as men in that profession ordinarily exercise under like circumstances.” City of Eveleth v. Ruble, 225 N.W.2d 521 (Minn. 1974).
    “Engineers are not required to produce perfect results, “but rather [to] exercise…that skill and judgment which can be reasonably expected from similarly situated professionals.” Waldor Pump & Equip. Co. v. Orr-Schelen-Mayeron & Assocs., Inc., 386 N.W.2d 375 (Minn. Ct. App. 1986).
    The standard of reasonable care that applies to the conduct of architects is the same as that applied to lawyers, doctors, engineers and other professionals engaged in furnishing skilled services for compensation. Gammel v. Ernst & Ernst, 72 N.W.2d 364 (Minn. 1955).

## Slide 20: Expert’s Ability to Opine on a Standard of Care
Failure to Define Standard of Care
  Developer’s claims against design engineering company dismissed for failure of experts to establish standard of care – Pond Hollow Homeowners Ass’n v. The Ryland Group, Inc., 779 N.W.2d 920 (Minn. Ct. App. 2010).
Failure to Substantiate Qualifications
  Expert offered in support of claims against professional must “make a substantial showing of qualification in the particular field of inquiry.” Swanson v. Chatterton, 160 N.W.2d 662, 669 (Minn. 1968).

## Slide 21: Expert’s Ability to Opine on a Standard of Care
  Expert may also need practical experience in the particular matter at issue
    Law professor with only academic experience not qualified to opine on standard of care applicable to criminal defense attorney – Noske v. Friedberg, 713 N.W.2d 866 (Minn. Ct. App. 2006).
    Psychologist without practical experience not competent to give opinion on standard of medical care or departure therefrom – Lundgren v. Eustermann, 370 N.W.2d 877 (Minn. 1985).
  Expert may also be qualified due to related experience
    Professional estimator and certified engineering technician qualified to opine on standard of care of architect based on experience. Prichard Bros., Inc. v. Grady Co., 436 N.W.2d 460 (Minn. Ct. App. 1989).

## Slide 22: Expert’s Ability to Opine on a Standard of Care
  Qualification challenges based on methodology, testing
    Frye-Mack
      General acceptance in relevant scientific community
      Scientifically reliable foundation of evidence derived from testing
    Daubert
      “General acceptance” standard superseded by Fed. Rules of Evidence
      Is reasoning or methodology scientifically valid?
      Can reasoning or methodology be properly applied to facts?
      Has theory or technique been tested, subjected to peer review & publication?
      Must assist trier of fact (i.e., relevance)

## Slide 23: Investigation Background and Methodology
  Construction Defect - Documents
    Contracts between all parties
    Contract Documents including code review, plans and specifications from time of construction
    Project files including meeting minutes, emails, submittals / shop drawings / RFI’s / ASI’s / Change Orders
    City site documents including planning and zoning approvals, correspondence and staff reports
    City building documents including signed and approved Contract Documents (A, C, M, E, P, S) with city comments and notations, permits, inspections, and CO

## Slide 24: Investigation Background and Methodology
  Premise Liability (slip/trip and fall) - Documents
    Contract Documents including code review and plans and specifications from time of original construction or most recent addition / remodel
    Maintenance records, procedures, products and schedules
    Reports of any previous incidents
    Contracts and invoices with maintenance providers
    City documents, inspections and correspondence

## Slide 25: Investigation Background and Methodology (Cont.)
  Standard of care for involved parties – technical / industry and professional
  Notifications
  Destructive and non-destructive inspections
    Previous invasive inspections by plaintiff’s experts
    Reliance of discovery by others
    Observation and documentation of process
    Expert disputes on methodology in the field
  Acquiring and preserving artifacts
    Sign off by responsible party
    Compliance with ASTM standards E-1492 including chain of custody

## Slide 26: Seven Steps of the Scientific Method – NFPA 921
Recognize the problem (Identify)
Define the problem
Collect data
Analyze the data
Develop a hypothesis (inductive reasoning)
Test the hypothesis (deductive reasoning)
Select the final hypothesis

## Slide 27: Defense Opinions
  Simply respond to claims against client or point the finger at others?
  Address issues not raised by opposing expert or let them lie?
  Address industry or professional standard of care or both?
  What defense arguments are you making?
    We followed applicable industry standards and codes at time of construction or incident?
    We complied with Contract Documents?
    We met standard of care of similarly situated professional?
    We relied on other parties?

## Slide 28: Thank You!

## Slide 29: Case Study: Premise Liability Slip & Fall

## Slide 30: Premise Liability Case Study
Slip and Fall
  At 5 a.m. on a winter workday in downtown St. Paul, Elderly Irish business client, Sir Rowan O’Rooney:
    Parked on the highest level of a nearly vacant downtown parking ramp
    Proceeded down the 5 levels of the ramp stair to the street level
    Walked ½ block over snowy and icy sidewalks
    Proceeded through a plaza area in front of the building and main floor lobby area of a large commercial high-rise
    Climbed the steps of a non-operating escalator to the skyway level
    Walked over a short section of wet carpet that had just been shampooed
    Through a set of double doors into an elevated skyway section over the street.
    Floor of the skyway was of terrazzo finish, slightly inclined away from his direction of travel.
    Skyway was lit with artificial lighting and was slightly heated.

## Slide 31: Premise Liability Case Study
Incident
  At mid-section of the skyway:
    Left foot slipped forward
    Tried to resist the fall
    Grabbed for a section of railing along the side of the ramp
    The railing pulled loose
    Causing Sir Rowan to fall on his back.
  He suffered multiple fractures and emotional pain and trauma.
  Claims exceeded at least $5M.

## Slide 32: Premise Liability Case Study
Slip and Fall
  Sir Rowan alleged that his injuries were a direct cause of:
    Poor signage caused him to park in the upper level of a ramp that was too far from the building entrance
    Walk outdoors on poorly maintained sidewalks and outdoor plaza area in front of the building
    A cold lobby area
    A non-operating escalator
    Wet carpet
    Double doors that were difficult to push open
    A cold skyway
    A skyway floor that was overly sloped, slippery and poorly lit.

## Slide 33: What experts would be necessary to either advance and defend a claim for damages due to injuries?
Medical - injuries
Architects - architectural elements including the location of the ramp from the main building, lobby and skyway design compliance to codes
Chemists - floor surface finishes, maintenance products used for cleaning and mopping and carpet cleaning,
Human factors - incident factors and fall dynamics
Maintenance - reasonable operation of building escalators
Wayfinding - building and ramp signage
Forensic video technicians - record the number of building occupants that use the skyway on a daily basis

## Slide 34: What experts would be necessary to either advance and defend a claim for damages due to injuries?
Engineers
  Civil – ramp design and traffic signage
  Electrical - lighting levels compliance to codes
  Mechanical HVAC - temperature of the lobby and skyway areas compliance to codes
  Mechanical Systems- door operation and closure functions, resistance and compliance to codes
  Mechanical Testing – dry and wet static dynamic coefficient of friction measurements of the floor area utilizing Binary Output Tribometer (BOT) testing
  Materials - condition, strength and attachment mechanism of the railing
  Structural - railing strength compliance to codes
  Safety - maintenance and safety warnings

## Slide 35: What are the necessary documents?
Contract documents
  Plans and specifications for the building and ramp from time of original construction or most recent addition / remodel
  Railing shop drawings
  Signage shop drawings
Maintenance and testing records
  Procedures, schedules
  Product information including MSDS’s of all maintenance materials and products used for the floor and carpet maintenance
  Door closures, escalator and moving equipment
  Vendor contracts and invoices
Operation records
  Escalator
  Heating and cooling of the building lobby area and skyway
Reports of any previous incidents
City documents
  Inspections and correspondence, maintenance records of the sidewalks

## Slide 36: Crane Engineering Building Science
Disciplines
Architecture
Structural Engineering
Fire Protection Engineering
Mechanical, HVAC and Plumbing Systems
Electrical Engineering
Landscape Architecture
Civil & Geotechnical Engineering
Services
Codes and Contract Review
Building Component Analysis
Building Design and Reconstruction
We answer clients’ questions regarding defects and failures in building design, construction and materials – and how they can be prevented or resolved.
Types of Buildings
Retail and commercial
Industrial and manufacturing
Institutional
Residential – single and multifamily

## Slide 37: Thank You!